PROBE ROD

A test probe is a physical device used **to connect electronic test equipment to a device under test (DUT)**. This **probe** is intended to verify the basic protection against access to hazardous parts. It's also used to verify the protection against access with a **tool**. Hand held probe rod length – 75mm, M6 threading

|  |  |
| --- | --- |
| https://pmequipments.com/assets/img/pm_equipments_logo.png | **PREDICTIVE MEASURING EQUIPMENTS**  Plot No 146, Phase 1, Mytrinagar, Madinaguda, Hyderabad – 500049  Mobile: +91-90593 40351, eMail: info@pmequipments.com, www.pmequipments.com |